## Tabelle1
Calculation Solar Pump
Conditions |  | 3 wells
Number of |  | Calculation |  | Euro/Piece | Total Euro | Total Rupi
3 | Danfoss SQFlex Solar, SQF 1.2-2, 100m, 50 qm/day: 900 Watt / 7A / 30 - 300 VDC, 90 - 240 V AC |  |  | 2200 | 6600 | 419760
Centrifugal pump (4") for low heads and large flows
3 | CU 200 control unit for level and diagnostics |  |  | 250 | 750 | 47700
0 | IO 101 switch box (for Solar) |  |  | 200 | 0 | 0
0 | IO 102 breaker box (for wind-systems) |  |  |  | 0 | 0
12 | Installation-Cable Outdoor NYY-J 3*1,5 25m |  |  | 15.15 | 181.8 | 11562.48
2 | Water-Pipes |  |  | 100 | 200 | 12720
0 | Tap/faucet |  |  | 5 | 0 | 0
2 | more installation-Material |  |  | 100 | 200 | 12720
|  | Watt/Module | Total Power |  |  | 0
36 | Module Seraphim 140W | 140 | 5040 | 125 | 4500 | 286200
18 | Frame for Solar-Paneel |  |  | 39 | 702 | 44647.2
120 | Cable Solar->Charge-Controller, per m*2 |  |  | 1.46 | 175.2 | 11142.72
0
0
0
| Transportation estimated |  |  |  | 300 | 19080
[6 empty] | 0 | Performance-Data Pump
|  |  | Total |  | 13609 | 865532.4
Prices can change according to dynamic prices for Solar Paneel
Prices do not include installation
Ammortisation
| current Pumps | 3500 | W
| running time/day | 15 | hrs
| Energy | 52500 | Wh
| price KWh | 0.1 | Euro | 6.5 | Rupi
| cost per day | 5.25
| per year | 1916.25
| Years of Ammortisation | 7.1019
Pump and Solar-Paneel