Saving Energy and Resources

Is the easiest way to reduce costs, protect the environment and increase profit at the same time. Some Hints

Electrical

- Replace Outdoor Lights by Solar-lights

- Replace all new indoor lights necessary by energy saving versions.

- Install Moving-detectors to switch on light only if somebody is passing.

- Switch on Indoor lights by a light-Sensitive Sensor, so only if needed.

- There is a way to switch off not really necessary Units by remote (Air-Conditions etc). So if Power-failure, only the really needed devices can be switched on and a smaller Generator can may be manage that.

- Replace the electrical Heating-Units by Solar

- If not applicable use gas instead of electricity

- Most electrical devices need some electricity, even switch off (Television, Computer). So switch off by an external Power-switch.

- Switching of air-condition if nobody in the room, because they need considerable energy.

- Close windows if Air-Condition is on. There are Air-Conditions which use the cool air from the room to cool more down. There are Air-Conditions from China which use a Solar-Support and the energy-demand is much less.

- All devices for heating should be well insulated for not loosing energy.

- Laundry: There is washing Agent, where you can run laundry with lower water-Temperatures. Generally consider washing with less high temperature.

- Some devices can be switched by an electronic Timer with battery-backup.

- Do not let fridges run with too low temperature. They need very much temperature if Setup to very low temperature. Keep the fridge on a cold place. The backside away from the wall. Check sealing are correct.

- A small note above the light/fan-switches “switch off if not in use. Thank you!” may help and remind.

- Notebook need much less energy than Desktop-Computer and are more mobile. Consider that when buying new ones.

- Professional: install a load-shedding-system that switches off electrical devices if there is peak demand (electrical units are available). Or switch on devices for to produce cooling energy, loading etc. if electrical energy is cheap. Smart-grid is the goal!

Others

- Irrigation in the daytime wastes a lot of water. If needed best is in the early morning. By an automated System, it can be done very efficient.

- Use compost toilette instead of water-toilette. Water-flush-toilette use 15 l of water each time!

- The rice etc. does not need to boil so long. It is enough if you reach boiling-Temperature. Then remove it from fire and put the pot to an isolated box and keep it for some time and it will be ready without additional Energy.

How to communicate it?

- May be on a Poster or an information-Sheet.

- Or giving an award for energy-saving or for good ideas about energy-saving.

- May be one can have the task to consult and monitor the people about saving Energy and Resources.