## Overview
Plant:
Date:
Comment:
see following Plans for Details (select Tables at the button of this Page):
Size-Calculation: modify your own Size
Part-List: that's what you need and how much is cost
Pictures: here some Pictures that may be help
Feel free to give Feedback about corrections etc.
Contact
Stefan Schranner
Alternative technologie
Frau-Holle-Weg 28
97084 Würzburg
Telefon: +49 (0)931 72353
Mobil: +49 (0)152 54690448
Email: StefanSchranner@yahoo.de
Internet: www.alternative-technology.de

## Size-Calculation
Calculation-Sheet for Solar Thermal Collectors
|  | Input = |  | Calculation=
Copper Collector | 2 | (Number of collectors)
(all in cm) | Nr/length | X cm | Y cm | Thickness
Absorber |  | 105 | 81 | 1
Distance to frame |  | 1
Case inside |  | 106 | 82
Case outside |  | 112 | 88 |  |  | figures below only used for Part-List!
2 planks for sides b + c | 4 | 112 | 10 | 3 |  | 4 | 112 | 10 | 3
2*planks for sides a+d | 4 | 82 | 10 | 3 |  | 4 | 82 | 10 | 3
3 supporting laths | 6 | 82 | 5 | 3 |  | 6 | 82 |  | 3
planks for the bottom: | 16 | 112 | 11 | 2.5 |  | 16 | 112 | 11 | 2.5
Glas |  | 112 | 88 | 4-5 mm |  |  | 112 | 88
Nr of vert. Pipes | 10 | 100 | 7.5
Total length vertical copper | 1000
Length horiz.Pipe | 20 | 110 | 5.5
Total length copper-Pipe | 2220 | [5 empty] | 2220
Nr or T-Connexiones Copper | 36 | [5 empty] | 36
Nr or L-Connexiones Copper | 4 | [5 empty] | 4
Rubber-Strips vertical | 4 | 112 | 3
Rubber-Strips horizontal | 4 | 82 | 3
Angle for to hold glass vertical | 8
Angle for to hold glass horizontal | 8
L-angel total Length (spa angulo) | 800 | [5 empty] | 800
Standard-Collector
(all in cm) |  | X cm | Y cm | Thick
Absorber |  | 110 | 80 | 0,5-1mm
Pipe-Diameter |  | 1
Case inside |  | 111 | 81
2*planks for sides a+b |  | 90 | 10 | 3
2 planks for sides b + c |  | 120 | 10 | 3
3 supporting laths |  | 90 | 2.5 | 2.5
planks for the bottom: |  | 120 | as available | 2.5
Glas |  | 125 | 90 | 4-5 mm
|  | Input = |  | Calculation=
Collector with Plastic-Pipes
(all in cm) | Nr/length | X cm | Y cm | Thickness
Absorber | 1 | 113 | 83 | 1
Distance to frame |  | 1
Case inside |  | 114 | 84
Case outside |  | 120 | 90
2*planks for sides a+b | 2 | 87 | 10 | 3
2 planks for sides b + c | 2 | 120 | 10 | 3
3 supporting laths | 3 | 87 | 5 | 3
planks for the bottom: | 10 | 120 | 9 | 2.5
Glas |  | 125 | 90 | 4-5 mm
Rubber Hose | 2570.8718 |  |  | 3 | 0.9
Nr of vert.Hoses | 21.2821
Nr or T-Connexiones | 42.5641
Note on B14: Number of
Note on B18: Nr of
Note on B72: Number of
Note on C12: if swallow-tail connection then size like outside Dimension D40
Note on C15: 5 cm overlapp
Note on D14: as available
Note on D15: 2 cm overlapp
Note on D16: Distance to next
Note on D18: length of one piece
Note on D22: width
Note on D72: as available
Note on E74: Diameter
Note on F74: Distance to next

## Part-List
Piece-list Solar Thermal Installation
Status | Nr of | Total | Price in $ | Total | Size x | y | z | Picture
ok? | or m | Nr/m | $ | $ | cm | cm | cm | -Nr | Tubes etc
or m: 23; $: 1.6; $: 36.8 | Cold-water-tube or pressure-hose, UV-Resistent
or m: 42; $: 1.4; $: 58.8 | Hot water-hose (garden-hose)?), heat resistent
or m: 23; $: 1.6; $: 36.8 | Cold-water-tube to shower, UV-Resistent
or m: 2; $: 1.4; $: 2.8 | short interconnection-Pipe Tank 1->2
or m: 5; $: 0.4; $: 2; -Nr: 4 | T-Connection hose
or m: 15; $: 0.3; $: 4.5; -Nr: 6 | L-Connection hose
or m: 12; $: 0.26; $: 3.12; -Nr: 5 | Pipe-Connections
or m: 10; $: 0.26; $: 2.6; -Nr: 17 | Pipe-Connections
or m: 4; $: 0.5; $: 2; -Nr: 10 | Adapter 3/4' to 1/2'
optional Black wall-color for hoses if not UV-resistent
or m: 120 m; Nr/m: 4; $: 11; $: 44; -Nr: 22 | Isolation hot water-tube: wool, cloth etc
or m: 5; $: 0.93; $: 4.65; -Nr: 1 | conduit cleat
or m: 0; $: 6.06; $: 0; -Nr: 3 | faucet cold-water-inlet
or m: 0; $: 6.06; $: 0; -Nr: 3 | Faucet for to empty collector or open at junction
or m: 1; $: 6.06; $: 6.06; -Nr: 7 | Faucet kitchen
or m: 1; $: 28.91; $: 28.91 | Faucet shower with cold-water-mix
or m: 3; $: 0.4; $: 1.2; -Nr: 9 | Cap for pipes for Testing
or m: 5; $: 1.5; $: 7.5; -Nr: 8 | Connection universal
Tank 1 Cold water Tank
or m: 1; $: 26; $: 26 | Tank, plastic?, Toilet-Box
or m: 1; $: 23.04; $: 23.04 | Swimmers (floating-gauge or ball-valve)
Optional black color for tank
or m: 1; $: 2.48; $: 2.48 | Connection for Outlet
Tank 2 Hot-Water-Tank
Tank (f.e.former hot water-hot water tank) | bar: or m
Isolation tank: ideally: Wool, rags; good: Saw-chips (kapok, sawdust, coconut fibre, glass-wool)
bag for the isolation-Material or a 2. Tank
$: 26; $: 26 | Envelope tank (corrugated iron, indoors silver, outside black)
or m: 2; Nr/m: 2; $: 0.7; $: 1.4; -Nr: 13 | Ventilation: 2 *L-Connection
or m: 45 cm; Nr/m: 1; -Nr: 12 | Ventilation: short Pipe
or m: 5; Nr/m: 5; $: 0.55; $: 2.75 | Teflon, Vaseline, olive-oil, coconut-fat
or m: 0; $: 20; $: 0 | optional Thermostat and Heater if electical backup
[10 empty] | cm | cm | cm
or m: 2; cm: 112; cm: 88 | Solar-panel | 112 | 90
$: 45; $: 45 | Wood
or m: 4; cm: 112; cm: 10; cm: 3 | planks for sides b + c | 112 | 10 | 3
or m: 4; cm: 82; cm: 10; cm: 3 | planks for sides b + c | 84 | 10 | 3
or m: 6; cm: 82; cm: 5; cm: 3 | supporting laths | 84 | 5 | 3
or m: 16; cm: 112; cm: 11; cm: 2.5 | planks for the bottom: | 112 | 9 | 2.5
| 1 |  | 20 | 20 | 112 | 88 | 4-5 mm |  | glass | 117 | 90 | 4-5 mm
| 3.7 | 4 | 17.8 | 71.2 | 2220 |  | 5 |  | copper-pipe | 100 |  | 5
or m: 36; $: 0.74; $: 26.64 | Nr or T-Connexiones
or m: 4; $: 0.6; $: 2.4 | Nr or L-Connexiones
| 2 |  | 18 | 18 | 105 | 81 | 0,5-1mm |  | Absorber: metal aluminum, copper | 105 | 83 | 0,5-1mm
Isolation: Wool, rags; good: Saw-chips
or m: 2; cm: 106; cm: 82 | cardboard | 105 | 83
or m: 1 l; $: 4.34; $: 4.34; -Nr: 21 | Heatproof dull black color (stovepipe-color) 1 l, spray is good
or m: 4; cm: 112; cm: 3 | Rubber-strip (truck-tires)
or m: 4; cm: 82; cm: 3 | Rubber-strip (truck-tires)
or m: 310 ml; Nr/m: 1; $: 3.83; $: 3.83 | Putty / Silicon (silicone-kit or putty), z.B. Greenhouse-putty
or m: 1; cm: 800 | L-Angle to fix the glass
or m: 4; $: 0.6; $: 2.4 | Adapter cooper -> Hot-Water-Pipe
copper wire for to fix the Pipes | bar: or m
or m: 2; $: 3; $: 3 | Alufoil
Small parts
or m: 50; $: 0.9 | Nails, galvanized
or m: 50; $: 0.9 | screws for wood
or m: 30; $: 0.7 | Sheet metal-screws
or m: 50; $: 0.5 | cable binder
steel wool for cleaning | bar: or m
Tools
or m: 0; $: 23.7; $: 0; -Nr: 23 | Solder Unit Copper-Pipes
or m: 1; $: 8.1; $: 8.1; -Nr: 14 | pewter
or m: 1; $: 1.9; $: 1.9; -Nr: 15 | soldering grease
Drilling-Machine
-Nr: 24 | Drills metal big
-Nr: 24 | Drill for wood
Extension-management
Flex?
Glass-tailors
or m: 1; $: 2; $: 2; -Nr: 24 | Brushes
Brush-clearers
or m: 2; $: 0.6; $: 1.2; -Nr: 24 | Sandpaper
Files
Rags
-Nr: 24 | Screwdrivers
24
Marker permanent
Pen
-Nr: 24 | Ruler
Cutter for copper | bar: or m
Cutter for Plastic-Pipes
-Nr: 24 | hammer
Copper-saw
-Nr: 24 | pipe wrench
Silicon-Device
-Nr: 24 | pliers
-Nr: 24 | Angle
24
24
Summe Total |  |  |  | 536.42

## Pictures
Material
21 |  | 22 | 23
Adhesive Aluminium-Foil
high-Temperature-black dull Spray
Solder-Unit
24 |  | Tools
Don't forget to feed the workers and not only with a banana!