# Solar charge Controller

Electrical wiring

Connect the cables according to the schematic and terminal-list

| Terminals | external |
| --- | --- |
| 1 | Solar + |
| 2 | Solar - |
| 3 | Battery + |
| 4 | Battery - |
| 5 | Load + |
| 6 | Load - |
|  | Other Side |
| 7 | Transformer + |
| 8 | Transformer - |
| 9 | Output 5V + |
| 10 | Output 5V - |

- The charge controller adjusts itself automatically to the corresponding voltage!

- The load is protected by a fuse that should be replaced if necessary by a slow type 10A.

Solar Charge Controller

If the battery is relatively empty, the Solar-LED shows steady light that means all the energy coming from the Solar-Paneel is going to the batteries.

If the battery is getting full, the LED starts slow flashing.

If the LED goes off, the battery is full, Solar charging stops

From time to time there is a boost-charging in order to improve the quality of the batteries. This option will not be activated for Gel-Type batteries.

Switch off Load

You can connect any Load till about 6 A and it gets switched off if the Battery is empty. This is very important because deep-discharging of the battery reduces the life-time drastically. Do not connect Inverter with more than 80 Watt! Inverter have a internal switch-off in case of low Battery. You can connect it directly to the batteries.

The Switch off Load in case of low battery has a delay.

The Load Output is protected by a automatic fuse. In case of short-cut at the output it takes some to switch on again.

Charging by 220V

Batteries can be loaded by a 220V Transformer as well. Connect the Transformer at the according Inputs. Overcharging and discharging of the Batteries is monitored.

NiCd/NimH-Charge-Controller (Optional)

You can charge with this unit two NiCd oder NimH-batteries. If the Battery is relatively full the NiCd-LED starts flashing. If it is switched off, the battery is full.

The batteries may remain in the charger.

Additional voltage Output (Optional)

If you have a Additional voltage Output you can connect small devices with up to 600 mA. The output is short-cut protected, but be careful not to reverse-connect. This could damage the device.

The controller is ordered for 6V or 12V. Anyway you can make set this in the Software by yourself

# Dual Charge-Controller for small Units

In order to have a cost efficient and simple charge controller, this device was developed

- Up to 10 Amperes charging-current using Power-MOSFET Technology

- Overcharge Protection of the Battery by a dynamic Pulse-Charging

- Boost-charging (depending from the discharging level or at least once a month). Loading to the gassing-voltage for a specific time in order to improve the lifetime of the battery.

- The loading of the lead-acid-batteries can be realized with a 220 V / 12V DC Transformer as well

- Deep-Discharge Protection for the battery with a Delay for switch off

- For 6 V Systems and 12 V Systems applicable. Automatic switch to according System-Voltage

- For Acid-Batteries and Gel-Batteries

- Many Safety Precautions: short-circuit Protection, Over-voltage Protection, Battery Reverse connection protection

- Integrated charger for NiCD, NiMH-cells. Using Solar people often use torches or battery-radios as well, which need new batteries frequently. Optional Integrated Loading-unit for two cells of Type AA oder AAA NiCD, NiMH-Batteries.

- Optional: One fixed voltage Output with any Voltage you need, short circuit and overload-protected.

- LED-Display: Battery empty, Solar charging and NiCd/NimH-Charging

- Optional: Data-Cable for Update of the Software and Source-Code with Compiler

Contact

Stefan Schranner

Alternative Technologie

Frau-Holle-Weg 28

97084 Würzburg

Tel: +49 (0)931 72353

Mobil: +49 (0)152 54690448

Internet: www.alternative-technology.de

Email: StefanSchranner@yahoo.de